# WOMEN’S HEALTHCARE ASSOCIATES, LLC

TITLE: 	                 Vaccine and Cold Storage Medication Management 		POLICY C35

POLICY:	Proper storage and handling of vaccines and cold-storage medications are essential to minimize loss and waste and to reduce the risk of repeat administration due to compromised products. This policy is aligned with the CDC Vaccine Storage and Handling Toolkit, which is available for full review on SharePoint and is linked here: Vaccine storage-handling-toolkit.pdf

PURPOSE:      	The most significant contributor to vaccine loss is inadequate vaccine management. Effective management includes proper storage, handling, ordering, and inventory control practices to minimize waste and prevent loss.

Maintaining medication potency is a shared responsibility between manufacturers and clinic staff who store and manage vaccines and cold-storage medications prior to administration. Failure to maintain the cold chain may result in reduced or complete loss of effectiveness.

Adherence to this policy ensures that Women’s Healthcare Associates (WHA) maintains cold chain integrity and safeguards medication efficacy.

PROCEDURE:

Storage and Handling

1. Designated staff must be available, and onsite, to receive vaccine and cold-storage medication shipments. All staff members who might receive these shipments must understand the importance of maintaining the cold chain.

2. Upon receipt of a shipment, staff must immediately unpack vaccines and cold storage medications and store them at the recommended temperature.

3. Vaccines received must be documented in the Vaccine Lot Manager in the EMR system.

4.. When unpacking deliveries, examine the shipping container and products for signs of physical damage. If staff believes that a vaccine shipment is compromised or there is a concern with the temperature monitors that should be included in the packaging, staff should contact their supervisor immediately.

6. Refrigerated vaccines and cold storage medications must be maintained at 2°C to 8°C (36°F to 46°F) unless otherwise specified by the manufacturer.

7. All refrigerators at WHA utilize continuous temperature monitoring devices (data loggers) to monitor these products. Each device is equipped with a buffered temperature probe and an active temperature display that can be easily read from the outside of the unit.

Temperature Logs

1. All sites managing vaccines and cold storage medications must maintain a temperature log.

2. Temperatures will be recorded twice daily; once at the start of clinic hours and once at the end of the day.

3. Temperature logs must be kept on site for three years.

## Temperature Excursion Response

Each WHA site supervisor and a designated backup staff member will receive notifications from the continuous monitoring system when a temperature alarm occurs. Alert notifications may be configured to be received by text message, email, or phone call.

When an alarm is received, the supervisor or designated backup staff member should review the alert and document the known or suspected cause. Adding a comment to the monitoring system does not change the alarm status and serves only as documentation.

Alarm snooze or silence functions should be used cautiously. Snoozing an alarm will pause repeat notifications for the selected time period. Silencing an alarm stops notifications until the alarm is reactivated on site. Because snoozed or silenced alarms may prevent additional alerts until addressed, these functions must not be used in place of assessing the excursion as soon as possible and safe.

- If excursions occur outside of business hours, if possible and safe, arrive at the site to assess the situation (for example, determine whether the refrigerator has become unplugged, a power outage has occurred, or the door has been left open).

- If removal to another appropriate vaccine fridge is planned as the most appropriate response, the refrigerator must be authorized for storage of vaccines and cold-storage medications that maintains required temperatures, is actively temperature monitored, and meets current vaccine storage requirements. Purpose-built or pharmaceutical-grade units are preferred. Stand-alone household-grade units may be acceptable when appropriate. Dormitory-style units are not approved.

- Obtain an insulated transport container for the vaccine and cold-storage medications during transport; the container must be used with cold packs.

- Contact the supervisor at the nearest site to arrange transport of stock.

- Document the excursion, reason for the excursion, and actions taken on both the temperature log and the excursion log. The link to the excursion log is here: !Temperature Excursion Log_Blank.xlsx

- Contact the manufacturer or refer to the manufacturer’s website for each affected vaccine or medication to determine whether the stock may still be used. Be sure to confirm the correct manufacturer for each product, as some vaccines and medications may be made by more than one manufacturer. If contacting the manufacturer directly, have the lot numbers and total quantity of affected products available.

- If vaccines or medications are determined to be compromised, label them “Do Not Use” and coordinate with Purchasing regarding return or disposal.

- If stock is determined to be usable, label the vaccines and/or medications with details of the excursion and manufacturer authorization for continued use. This label must be updated each time an excursion occurs. Label details should include:
“Temperature excursion to [xx] degrees Celsius for [xx] hours on [date]. Approved for use until expiration date by manufacturer. Reassessment needed with additional excursions.” Link to template: temperature_excursion_release_labels_printable_v2 (1).docx

- Last, save any fully completed temperature excursion logs on the Pdrive with the site and date indicated in the name, e.g. “HB Temp Excursion Log 6.6.25.xlsx”. File path to the Pdrive: P:\Clinical Team\Private\Temperature Excursions\Completed site excursion logs. Keep a printed copy of this form with your temperature logs as well.

| For signatures, see original in Human Resources |  |  |
| --- | --- | --- |
| Chief Executive Officer C-35 |  | Chief Medical Officer C-35 |

Chief Operations Officer C-35

FORMULATED	June 1, 2017

REVISED		August 20, 2018

REVISED                 November 12, 2021

REVISED                 February 1, 2024

REVISED                 April 15, 2026