Women's Healthcare Associates

Nitrous Oxide

Use for Pain Management

Table of Contents

Implementation Checklist	2

Site Leadership	3

Clinicians	3

Clinical Services	3

Patient Services	3

Training: Clinicians and Clinical Staff	3

Advantages	3

Indications for use	3

Contraindications for Use	3

Supplies	4

Procedure	4

Safety & Equipment Maintenance	4

Pre-Planned Use of Nitrous Oxide Workflow	5

On the fly/same day nitrous use	8

Provider/MA dyad	8

PS team	8

# Implementation Checklist

## Site Leadership

- Purchase Consumables

- Environmental monitoring procedure and requirements

- Equipment maintenance

- Diversion Prevention and logs

- Supplies and Inventory

- Equipment resource/reservation

## Clinicians

- Counseling and patient information (including self-pay)

- Patient consent process

- Documentation

## Clinical Services

- Equipment set up and cleanup

- Equipment/procedure logging for diversion prevention and inventory tracking

## Patient Services

- Scheduling

- Equipment resource/reservation

- Fee for service and payment collection

## Training: Clinicians and Clinical Staff

- Nitrous Oxide Overview, Employee Health, Infection Prevention

- Equipment Inservice with Pro-Nox Rep

- Once Training Checklists are signed by the employee and supervisor the PCS or PM will send to HR Service desk.  HR member will upload to the employee file in PayCom.

# Advantages

- Enabling office procedures that are otherwise done at the hospital or IOS

- Keep patients at home location with primary providers (continuity of care)

- Greater comfort during clinic procedures and exams

- Flexibility for patients - Allows patients to drive themselves to and from visit

- Safe, effective, well tolerated

# Indications for use

Patients, without contraindications, who desire additional comfort or pain management during procedures or exams in the outpatient setting.  For pregnant patients, nitrous can be used at 36 weeks gestation and beyond and can be used in the care of non-continuing pregnancies at any gestational age.

Contraindications for Use

- Pregnancy prior to 36 weeks gestation

- Cannot hold their own facemask or mouthpiece without assistance

- Have impairment of consciousness, or are intoxicated with either drugs or alcohol

- Have taken centrally-acting depressant drugs such as benzodiazepines or narcotics within 8 hours prior to nitrous use

- Vitamin B12 deficiency

- Potential for trapped gas (e.g. recent pneumothorax, bowel obstruction, middle ear infection or surgery, eye surgery within the last 6 weeks)

- Increased pressure conditions (e.g. increased intraocular pressure, pulmonary hypertension, increased intracranial pressure).

- Have impaired oxygenation (e.g. upper respiratory tract infection or respiratory disease), or oxygen saturation consistently less than 95% on room air

- Hypersensitivity to nitrous oxide mixtures

Policy can be located on Sharepoint: C-50 Nitrous Oxide for Procedural Analgesia 2026.02.03.docx

# Supplies

- Pro-Nox Nitrous Oxide System

- Single use patient circuit (Tubing, mouthpiece, nose clip, optional filter)

- Oxygen tank

- Nitrous tank

- Nitrous tank key

- Brass/Rubber Bodok Seal (Washer for the regulators)

- URI filters:  ”Pharma-mini filters”

- Monitoring badge (when completing exposure level testing)

# Procedure

- Clinician / Patient consult for procedure and discussion of pain management options.

- Procedure is scheduled.  If nitrous is chosen – machine is reserved on resource, notes added to appt.

- Financial Coordinator collects payment or adds as prepay for visit

- Payment for nitrous collected.  Most insurance does not cover nitrous oxide, so many patients will have a fee for use.

  - Commercially Insured Patients: $100

  - Medicare: $30

  - Medicaid/OHP:  $0 (Medicaid will cover nitrous and WHA can bill their insurance)

- Patient is roomed and instructed on Nitrous Oxide use

- Written consent for nitrous obtained before use.

- Procedure is completed while patient self-administers Nitrous Oxide

- Clinical team documents use of nitrous oxide in note: .whanoxproc.  This will automatically drop the charge capture code in the background.

- Patients remain in office for 10 minutes post Nitrous Oxide use for monitoring

- Clinical team cleans Nitrous Oxide machine and disposes of one time use mask and tubing

# Safety & Equipment Maintenance

Please refer to the Nitrous Oxide Policy and Instructions for Use for the most up-to-date information.  The information below is intended to provide additional details and context to support workflows.

- Diversion Prevention: Nitrous oxide has the potential for abuse and should be treated like a controlled substance.

  - Patients and support people should never be left unattended while nitrous oxide tank is in the open position and nitrous oxide could be inhaled.

  - Tank access key should be stored in a secured location, separate from machine and equipment

  - Nitrous oxide use will be logged to track use and ensure inventory matches use (approximately 20 procedures of 15-20 minutes per nitrous oxide tank).

  - Nitrous oxide and oxygen tanks will be returned to the closed position after each use to minimize ambient gas leakage and potential for misuse.

- Environmental Monitoring: Quarterly

  - Nitrous oxide levels will be monitored within the first month of initiating nitrous oxide at the site and then quarterly to ensure levels remain within specified limits.

  - CareStream will send a monitoring badge with instructions to the site when they are due for quarterly testing.

  - When sending badge in for testing, results should be emailed to Employee Health and Infection Control Nurse.

  - EHIC will review results to determine if additional mitigation strategies are needed and send results and recommendations to site leadership.

- Functional Testing: Every 6 months (see Instructions for Use for more information)

  - The Instructions for Use (IFUs) or User Manual for Pronox recommends functional testing occur every 6 months.

  - Functional testing occurs as part of the annual maintenance with CareStream America and our Biomedical Equipment Maintenance vendor will perform functional testing at the midpoint of each machine’s annual testing cycle.  This will ensure functional testing for each machine occurs every 6 months.

  - These services will be tracked in the Biomedical Equipment Device Log.

  - The vendor submits reports to the purchasing department once completed which will be stored in the P:drive.

- Annual Maintenance

  - Annual maintenance should occur through CareStream America, per the agreement WHA has purchased.

  - Purchasing will notify sites when they are due for annual maintenance and coordinate  with CareStream to send a replacement/loaner mixer for use while the site’s equipment is out for maintenance.

  - Sites should send any certificates of completion to Purchasing.

  - Purchasing will track annual maintenance in the Biomedical Device Maintenance Log and store certificates in the P:drive.

  - Machine tag should be updated with date of maintenance

- Problems with the Pronox Machine

  - Please review the Instructions for Use Manual as a first place to start for troubleshooting problems.

  - If problem does not resolve – we may need need to coordinate sending the Pronox in for evaluation and maintenance.

    - Email: Service@carestreamamerica.com

      - Please email CareStream with a detailed description of the problem.

      - Include the following people in your email in the CC line:

        - Practice Manager

        - Melissa Rodriguez (Ops Specialist, Facilities/Calem)

        - Sandi Thompson-Scarlett (Purchasing)

        - Connor Bates (Snr. Accounting Manager)

        - Melissa Kaiser (Snr. Manager of Nursing, Nitrous Project Manager)

        - Kearsten Kozma (OC PM, Nitrous Project Manager)

        - Maddie Turner-Moreno (Employee Health & Infection Control)

    - Phone: #855-892-3872 – main toll-free number for both ordering and tech/product support

  - Purchasing will track all maintenance needs in the Repairs log in the P:drive.

# Pre-Planned Use of Nitrous Oxide Workflow

- Clinician counsels patient on pain management options when discussing upcoming procedure

  - Counsel patient on comfort options (LEAP WHA GYN PROC PAIN CONTROL FOR OBGYN) can be put into patient instructions or sent in patient message

  - Patient elects for nitrous oxide as pain management solution

- Clinician to complete check out notes

  - Indicate that patient needs to be scheduled for their specific procedure with the use of nitrous oxide for pain management

- Patient Services team member completes check out process (in person or following Telehealth check out workflow)

  - Schedules appointment

    - Schedules routine procedure visit on clinician schedule

    - Schedule routine procedure visit on site nitrous system scheduling resource

      - Utilize procedure appointment type

    - Schedule routine procedure visit on procedure room resource if applicable

    - Ensure all appointment notes indicate nitrous oxide use (Ex: IUD replacement with Nitrous Oxide)

  - Send staff message to site specific FC pool in EPIC indicating Nitrous Oxide use scheduled and payment is needed

- Financial Coordinator creates an estimate showing amount due for nitrous oxide

  - Calls patient to collect prepayment over the phone (prior to procedure appointment)

    - If patient pays a note will be made in appointment message that payment has been collected for nitrous oxide

    - If patient prefers to pay at check in the estimate will be attached to the appointment and FC will make a note in the appointment message regarding the amount due at check in for nitrous oxide use

- Patient Services team member checks patient in for procedure at front desk

  - Reviews appointment message and collects payment if indicated

    - If patient states they already paid fee over the phone and note says to collect fee call Financial Coordinate for review

  - If patient declines to pay, offer to reschedule/cancel, or proceed without nitrous

    - If patient wants to proceed without nitrous consult with provider

    - Consult with on site leadership as needed to support patient appropriately

  - If patient wants to reschedule (must cancel/Reschedule and use the same visit to keep estimate attached)

  - If patient cancels visit and plans to call back to reschedule, nothing is needed until patient calls back

- Clinical Staff sets up procedure and nitrous oxide system

  - Set up scheduled procedure and rooms patient using normal workflows

  - Obtain tank key from the locked cupboard and ProNox machine from storage cupboard.

    - Turn on tanks- Nitrous then Oxygen

    - Attach mouthpiece to ProNox machine

    - Attach exhaust tubing to mouthpiece

  - At start of procedure switch ProNox machine to on.

  - Inform patient to place nose piece on nose and instruct to breath in and out through the mouthpiece for a continuous 1-2 min.

    - Continue to instruct patient to take breaths as needed throughout the duration of procedure.

- Office visit or Procedure:

- Patient signs Nitrous Oxide consent form prior to use

- Nitrous Oxide is self-administered by patient after instruction from clinical staff

- Procedure is completed

  - Document – Clinical staff

    - Within note:  add .WHANOXPROC in the note (procedure or progress note).

    - Patient remains in Office 10 minutes post Nitrous Oxide use for monitoring

  - Clinical team cleans Nitrous Oxide machine and disposes of one time use mask and tubing

- Clinical Staff post procedure clean up

  - Switch Pro-Nox machine to off.

  - Instruct patient to remove nose clip.

  - Turn off tanks:  oxygen first, then nitrous

  - Have patient remain seated until they feel ready to get dressed.

    - Patient should remain in office for 10min post-procedure.

  - Dispose of single use patient circuit

  - Wipe down machine as standard cleaning protocol

  - Return tank key to the locked cupboard, and ProNox machine to storage cupboard

  - Complete Nitrous Oxide tracking log

# On the fly/same day nitrous use

## Provider/Clinical team dyad

If possible, clinical Team brings patient to Front desk to check insurance and collect payment prior to administration of nitrous oxide.

If patient is unable to pay for nitrous in advance of use, clinical team provides laminated orange card to patient to return to front desk and submit payment upon checkout

## PS team

Check insurance and collect payment as a prepay on the account – send staff message to FC team indicating Nitrous Oxide Fee collected